## Slide 1
Fixing Our City’s Old Sewers
How the state is helping
In early 2015, New Jersey issued new permits to the 25 communities and sewage treatment plants that have CSOs. These permits require that cities and treatment plants must:
Develop Long-Term Control Plans that outline how they will upgrade infrastructure to reduce or stop overflows.
Report how often and how long overflows occur
Develop a system to alert the public when overflows happen.
Talk with residents and business owners to learn what projects are most important.
How to fix the problem
Reducing or eliminating overflows will require a diverse set of repairs. Cities will have to create a customized solution for each neighborhood because local conditions can vary. What will work well on one street, for example, may not be best a few blocks away. Lessons from elsewhere show what likely will happen is a mix of changes above the ground and below the ground.
How this affects our city
Our city must create a plan in just a few years. Cities will be hiring experts to study the problem and find the best solutions with the most benefits and lowest cost. Cities and treatment plants must also figure out how to pay for the fixes over time. These repair projects have the potential to transform your city through greener redevelopment, new parks, and changes to how neighborhood streets look.
Why you should care
As our city develops plans and financing options, residents and business owners can provide input. Solutions may include new parks, community gardens, greener redevelopment, or other changes to your neighborhood. This means your community will have the chance to say what it wants. Residents should learn what the options are so they can give informed opinions and help leaders make decisions that reflect the community’s needs and wants.
How to get involved
Community Group writes copy here. Community Group writes copy here. Community Group writes copy here. Community Group writes copy here. Community Group writes copy here. Community Group writes copy here. Community Group writes copy here.
Local logo here
What is a Combined Sewer System?
Old sewer systems that mix sewage and stormwater are an expensive and complicated problem for cities around the country. During dry weather, combined systems take sewage to wastewater treatment plants. But when it rains, that extra water running off streets and roofs also flows into sewers. The added water can overwhelm the capacity of the pipes. When that happens, the sewage-contaminated water mixture overflows from pipes directly into local waterways. This is called a combined sewer overflow, or a CSO. In New Jersey, 21 cities have CSOs. Our city has XX.
Why CSOs are a problem
States and cities are required by the federal government to meet water quality standards. This includes reducing or eliminating sewage spills into waterways. If they don’t, the federal government can order cities and states to meet standards and, as a result, dictate the repairs cities must do.
Combined sewers and overflows can:
    Dump trash into waterways
    Expose people to raw sewage
    Cause street flooding
    Cause sewage to sometimes back up in streets and homes
    Cause beach closures
    Harm aquatic life
    Contaminate shellfish beds
Above-ground examples:
Capture rainwater in planters
Replace pavement with trees and gardens
Below-ground examples:
Separate sewers
Build large underground storage tunnels
Fix leaky pipes
Local logo here
For more information and links to resources, check out the Urban Waters Solutions Initiative: www.njfuture.org/water
Complicated problems required creative solutions

## Slide 2
How can our city end CSOs?
Education & Engagement
Public notification of CSO overflows
New Jersey cities are required to create a way to tell residents
when sewage spills from overflow pipes.
Public engagement
CSO communities are required to get input from residents and
business owners about which solutions they want.
Green infrastructure
Above-the-ground methods mimic nature by capturing stormwater so it can be reused or it can trickle into the ground. Examples include:
Rain barrels and cisterns
These containers capture stormwater from roofs and save it for
another use. Cisterns are large and collect from multiple roofs.
Rain gardens
During dry weather, these look like simple gardens. When it
rains, stormwater flows in and seeps into the ground.
Pervious pavement
This type of paving material allows water to seep in rather than
rush off into sewers. It can be used for many paved areas.
Green and blue roofs
Blue roofs are designed to retain and slowly release water after
a storm. Green roofs are planted with grass and other plants.
Green streets
When cities make major repairs to streets, they can include designs for areas with grass and trees to absorb stormwater.
Gray infrastructure
This below-the-ground infrastructure takes raw sewage and water to a sewage plant for treatment. Examples include:
Sewer line maintenance and repairs
Cleaning pipes creates more room for sewage and stormwater.
Fixing leaks reduces groundwater coming into pipes.
Outfall disinfection
This involves installing a device that releases a disinfectant into
sewage before it overflows.
Increasing capacity at sewage treatment plants
This creates more room to treat sewage and stormwater at the
plant so overflows happen less frequently.
Underground storage tanks and tunnel
This creates a place for the stormwater and sewage to go until
there’s room for it at the treatment plant.
Sewer separation
This makes two lines – one for sewage, one for stormwater – so the sewage plant is never overwhelmed when it rains.
There is a diverse menu of solutions that can help reduce sewage overflows
Experience from around the U.S. shows us that cities are using a variety of ways, based on local conditions, to solve their CSO problems. The best solutions maximize community benefits and minimize costs. Here are a few examples.
Policies and Programs
Stormwater requirements on new development
Cities can require new and redeveloped buildings keep stormwater
on site to infiltrate into the ground or be reused.
Planning for the future
Cities can consider designing stormwater infrastructure for future
conditions, including effects from climate change.
Collaborate with neighboring communities and sewage plants
Cities can work with neighbors to develop plans and share costs.
Finance
Sewer rates
Rates can be increased to pay for upgrades. They can be designed
so lower-income households can afford bills
Stormwater fees
Cities around the country use a fee that is calculated by how much
area on a parcel does not absorb or retain water.
Innovative financing
This includes incentives and grant programs for private property
owners, as well as public/private partnerships.
For more information and links to resources, check out the Urban Waters Solutions Initiative: www.njfuture.org/water